## shipping boxes
Shipping Box | Description | Length (cm) | Height (cm) | Width (cm)
1 | QCLAS Box | 80 | 72 | 66
2 | TREX Box | 94 | 30 | 43
3 | Pumps & UPS box | 88 | 85 | 71
4 | OASIS / Spares Box | 88 | 85 | 71
5 | Gas Cyclinders | 10 | 160 | 10
Note on A2: Phillip Agredazywczuk: To note: this sizing is an estimate from when we shipped the QCLAS to the USA. A box is being made for the QCLAS in the US, the dimensions of which are unknown currently

## equipment measurements
Measurements for Equipment & Spare Part Boxes
Item | L (cm) | H (cm) | W (cm) | Weight (kg)
TREX | 88 | 30 | 43 | 56.4
OASIS cooler TREX | 34 | 29 | 28 | 22.6
OASIS cooler QCLAS | 34 | 29 | 28 | 22.6
Ambient air pump | 26 | 15 | 16 | 3.4
Tri Scroll pump | 29 | 36 | 24 | 20
Turbo molecular pump | 30 | 48 | 30 | 13.8
UPS | 42 | 34 | 19 | 26.8
Gas cylinder | 10 | 160 | 10 | 75
Laptop (14") | 34 | 27 | 2 | 1
Yellow box for regulator | 29 | 12 | 20 | 1.2
Yellow box for regulator | 29 | 12 | 20 | 1.2
Oasis cooling liquid | 25 | 26 | 25 | 1
tool box | 32 | 16 | 45 | 10
Spare Part Boxes
Spare Parts: Tubing & Cable Protectors | 61 | 51 | 50 | 10
Spare Parts: TREX | 50 | 38 | 38 | 16
Spare Parts: Chambers | 51 | 38 | 34 | 17
TOTAL |  |  |  | 298

## spare part box contents
Spare Parts: Chambers
Box no. | Contents
1 | Heavy duty steel clamps (7)
2 | Ferrule set, nut, port con, straight cap and fit
3 | Solenoid valve, fans, electrical coil, valves for chambers
4 | Pneumatic connections
5 | Banana test & plugs (3)
6 | 2/2 way solenoid valve (2)
7 | ICP CON
8 | Spare parts
9 | ICP CON (From LFW)
10 | ICP CON (From LFW)
Spare Parts: Tubing & Cable Protectors
Box no. | Contents
1 | 6MM Tubing
2 | Cable protectors-White (12 rolls)
3 | Heat shieldings
Spare Parts: TREX
Box no. | Contents
1 | TREX -Temperature sensors, stand off, stainless steel tube, heat sink compound, electrical compound, springs inside the trap
2 | Stirling cooler spare parts-sunpower control box, serial cable adapter, black calibration box
3 | Various serial cables
4 | Fuses, cable ties
5 | In connectors
6 | Pfeiffer cold cathode gauge
7 | Metal bits for the structure that carries the system-VICI spares, Moxa box, spare thin colored connection cables
8 | Miscellaneous electrical cables
9 | Parker valve connectors
10 | Miscellaneous cables