## Experiment
[6 empty] | Repeat 1 |  | Repeat 2 |  | Repeat 3
Routine | Time (s) | Cum. time (s) | Cum. time (m) | Cum. time (h) | Description | Chamber | Cham. measured | Chamber | Cham. measured | Chamber | Cham. measured
ResetALL | 5 | 5 | 0.083333 | 0.0013889
concdep_cal1 | 2700 | 2705 | 45.0833 | 0.75139 | CalBlock | 1,2 |  | 5,6 |  | 9,10
A_T1 | 3600 | 6305 | 105.0833 | 1.7514 | Target | 3,4,5 |  | 7,8,9 |  | 11,12,1
A_S1 | 3600 | 9905 | 165.0833 | 2.7514 | Chamber open | 6,7,8 | 7 | 10,11,12 | 11 | 2,3,4 | 3
A_S1 | 3600 | 13505 | 225.0833 | 3.7514 | Chamber closed | 9,10,11 | 10 | 1,2,3 | 2 | 5,6,7 | 6
A_S1 | 3600 | 17105 | 285.0833 | 4.7514 | Chamber closed | 12,1,2 | 1 | 4,5,6 | 5 | 8,9,10 | 9
A_S1 | 3600 | 20705 | 345.0833 | 5.7514 | Chamber closed | 3,4,5 | 4 | 7,8,9 | 8 | 11,12,1 | 12
A_S1 | 3600 | 24305 | 405.0833 | 6.7514 | Chamber closed | 6,7,8 | 7 | 10,11,12 | 11 | 2,3,4 | 3
A_S1 | 3600 | 27905 | 465.0833 | 7.7514 | Chamber closed | 9,10,11 | 10 | 1,2,3 | 2 | 5,6,7 | 6
A_S1 | 3600 | 31505 | 525.0833 | 8.7514 | Chamber closed | 12,1,2 | 1 | 4,5,6 | 5 | 8,9,10 | 9
WaitEnd | 890 | 32395 | 539.9167 | 8.9986 |  | 3 |  | 7 |  | 11
Wait1Chamb | 1200 | 33595 | 559.9167 | 9.3319 |  | 4 |  | 8 |  | 12
ResetALL_end | 5 | 33600 | 560 | 9.3333
Note on chamber timing:
Start chambers, Vicis and LabView at the same time
[5 empty] | 165.0833 | Minutes after start of experiment that first chamber measurement routine begins
[5 empty] | 189.2 | Minutes after start of experiment that first trapping begins
[5 empty] | 197.9667 | Minutes after start of experiment that first trapping ends
[5 empty] | 9.2 | Trapping start time relative to closure of the 10th chamber in the experiment
[5 empty] | 17.9667 | Trapping end time relative to closure of the 10th chamber in the experiment
Repeats... 3 repeats = 28 hours, to measure all chambers at least once

## Routine
[6 empty] | Trapping time | Trapping flow | Expected conc. in cell
[6 empty] | 526 | 400
Routine | Procedures | Time (s) | Cum. Time (s) | Total time (s) | Total time (m) | Comments
ResetAll | ResetAll_S | 5 |  | 5 | 0.083333
ResetAll_end | ResetAll_S_end | 5 |  | 5 | 0.083333
WaitEnd | Wait890Sec | 890 |  | 890 | 14.8333 | A wait time to make the full experiment the right length to be repeated. THIS NEEDS TO BE ADDED!
Wait1Chamb | Wait1200Sec | 1200 |  | 1200 | 20 | A wait time one chamber long, so diff chambers measured each repeat. THIS NEEDS TO BE ADDED!
concdep_cal1 | CleanCell_S | 224 |  | 2700 | 45
| Fill_cal1_S_hiconc | 373
| Set_cal1_MFC | 5
| Set_cal1_marker | 5
| Measure4Min | 240
| CleanCell_S | 224
| Fill_cal1_S_midconc | 373
| Set_cal1_MFC | 5
| Set_cal1_marker | 5
| Measure4Min | 240
| CleanCell_S | 224
| Fill_cal1_S | 373
| Set_cal1_MFC | 5
| Set_cal1_marker | 5
| Measure4Min | 240
| Wait159Sec | 159 |  |  |  | A wait time to make the calibration the right length. THIS NEEDS TO BE ADDED!
A_T1 | InitSample | 600 |  | 3600 | 60
| CleanCell_S | 224
| Fill_cal1_T1 | 373
| Set_cal1_MFC | 5
| Set_cal1_marker | 5
| Measure4Min | 240
| BeginTrapSample | 5
| CleanCell_S | 224
| EndTrapSample_T | 297
| PurgeCO | 5
| Measure3Min | 180
| PurgeTo130_S | 340
| HeatTo0 | 155
| DesorbSam | 282
| MeasureT1 | 5
| HeatOutSam | 660
A_S1 | InitSample | 600 | 600 | 3600 | 60
| CleanCell_S | 224 | 824
| Fill_cal1_S | 373 | 1197
| Set_cal1_MFC | 5 | 1202
| Set_cal1_marker | 5 | 1207
| Measure4Min | 240 | 1447 | 24.1167 |  | Trapping start: 24.1 minutes into routine
| BeginTrapSample | 5 | 1452
| CleanCell_S | 224 | 1676
| EndTrapSample | 297 | 1973 | 32.8833 |  | Trapping end: 32.9 minutes into routine
| PurgeCO | 5 | 1978
| Measure3Min | 180 | 2158
| PurgeTo130_S | 340 | 2498
| HeatTo0 | 155 | 2653
| DesorbSam | 282 | 2935
| MeasureT1 | 5 | 2940
| HeatOutSam | 660 | 3600

## Procedure
Procedure | Time (s) | Comment
ResetALL_s | 5
CleanCell_S | 224
Fill_cal1_S_hiconc | 373
Set_cal1_MFC | 5
Set_cal1_marker | 5
Measure4Min | 240
Fill_cal1_S_midconc | 373
Fill_cal1_S | 373
InitSample | 600 | This is extra long to make the 20 minute timing
Fill_cal1_T1 | 373
BeginTrapSample | 5
EndTrapSample | 297 | This is extra long to make the 20 minute timing. This should be adjusted to get the right concentration and the Init Sample length then also changed to keep the 20 minute timing.
EndTrapSample_T | 297 | This is extra long to make the 20 minute timing. This should be adjusted to get the right concentration and the Init Sample length then also changed to keep the 20 minute timing.
PurgeCO | 5
Measure3Min | 180
PurgeTo130_S | 340
HeatTo0 | 155
DesorbSam | 282
MeasureT1 | 5
MeasureSam | 5
HeatOutSam | 660
ResetALL_s_end | 5
Wait159Sec | 159 | A wait time to make the calibration the right length. THIS NEEDS TO BE ADDED!
Wait890Sec | 890 | A wait time to make the full experiment the right length to be repeated. THIS NEEDS TO BE ADDED!
Wait1200Sec | 1200 | A wait time one chamber long, so diff chambers measured each repeat. THIS NEEDS TO BE ADDED!