## Equipment
Power consumption
Pos. | System | Part | Manufacturer | Country of origin | Type | Weight (kg) | P [W] | I [A] | Approx. Cost (CHF) | HS Code | Dangerous? | Description | Quantity | Comments
1 | TREX-QCLAS | Oasis Three | Solid State Cooling Systems | USA | Cooling unit | 11.3 | 120 | 2.5 | 3500 | 9032.89.6040 |  | Cooling for TREX Stirling cooler | 1 | Current model named "T-Three"
2 | TREX-QCLAS | Oasis Three | Solid State Cooling Systems | USA | Cooling unit | 11.3 | 120 | 2.5 | 3500 | 9032.89.6040 |  | Cooling for QCLAS | 1 | Current model named "T-Three"
3 | TREX-QCLAS | QCLAS | Aerodyne | USA | Laser spectrometer | 75 | 400 |  | 200000 | 902730 |  | N2O isotope laser spectrometer | 1
4 | TREX-QCLAS | TREX | In-house | Switzerland | Preconcentration system | 50 | 110 | 0.34 | 80000 |  |  | Preconcentration system, made by Erkan Ibraim and Kristyna Kantanerova | 1
5 | TREX-QCLAS | Stirling cooler | Sun Power Inc | USA | CryoTel CT, Cryocooler for N2O trap | 3.2 | 160 |  | 20000 | 9032.89.6040 |  | Part of TREX system | 2 | We have a spare too :)
6 | TREX-QCLAS | N880 pump (N880.3 AN.22E) | KNF GmbH | Germany | Diaphragm gas pump | 18 | 310 | 1.6 | 25000 | 841410 |  | Pump to deliver sample to TREX | 1
7 | TREX-QCLAS | HiCube 80 ECO | Pfeiffer Vacuum GmbH | Germany | High vacuum turbomolecular pump for trap housing | 13.8 | 270 |  | 6000 | 84141025 |  | With HiPace 80 pump | 1
8 | TREX-QCLAS | Triscroll Pump (SH-110) | Agilent | USA | Vacuum pump (scroll pump) | 20 | 540 | 3.63 | 4000 | 841410 |  | Pump for laser cell | 1
9 | Microclimate | SO-411 | Meter Group AG | USA | Oxygen sensor (x 4) | 2.5 | Solar |  | 2400 | 90271010 |  | Soil microclimate monitoring | 4 | Purchased in 08/2022; serial numbers = SO-411 2082, SO-411 2109, SO-411 2085, SO-411 2069
10 | Microclimate | TEROS-11 | Meter Group AG | USA | Soil moisture sensors (x 16) | 4 | Solar |  | 3300 | 90278990 |  | Soil microclimate monitoring |  | Belonging to Six group
11 | Microclimate | ATMOS-41 | Meter Group AG | USA | Weather station (x 2) | 2 | Solar |  | 3800 | 90158020 |  | Soil microclimate monitoring |  | Belonging to Six group
12 | Microclimate | ZL6 | Meter Group AG | USA | Data logger (x 4) | 6 | Solar |  | 2700 | 85176990 |  | Soil microclimate monitoring | 4 | Purchased in 08/2022; serial numbers = z6-18814, z6-18924, z6-18816, z6-18813
13 | Consumables | Gas bottle |  |  | 200 bar synthetic air, 10 ppm N2O | 70 |  |  | 1000 | 28539030 |  | Calibration gas
14 | Consumables | Gas bottle |  |  | 200 bar synthetic air | 70 |  |  | 50 | 28539030 |  | Calibration gas |  | Not shipping; purchased in Kenya
15 | Consumables | Gas bottle |  |  | 200 bar compressed air | 70 |  |  | 50 | 28539030 |  | Calibration gas |  | Not shipping; purchased in Kenya
|  | Gas regulators | [10 empty] | 3
[5 empty] | Total | 427.1 | 2030 |  | 355300
| Note: | Vacuum pumps, export control 2B230 or 2B231? See 2B351 list
Note on H3: Lower consumption once the set temperature is reached
Note on H4: Lower consumption once the set temperature is reached
Note on H5: 250-500

## old_Erkan
Item | P [W] | I [A] | U [V]
Druckluftkessel | 650 | 2.8261 | 230
Thermorack 401 | 560 | 2.55 | 230
Triscroll Pumpe Edwards | 540 | 3.63 | 230
Pfeiffer Turbomolecular | 230 | 1 | 230
Vacubrand Pumpe klein (MD4BRL) | 220 | 1.36 | 230
mQCLAS | 190 | 0.99 | 230
UPS | 150 | 1.53 | 230
SS Thermocube | 120 | 0.43 | 230
Trex | 110 | 0.34 | 230
HP Notebook | 90 | 0.44 | 230
HUB | 5 | 0.01 | 230
Peakwerte | 2865 | 15.1061 | 2530